## Australie
Statut ZE Ready 1.2 - ZE Ready 1.4
LICENCIE | FOURNISSEUR D'EQUIPEMENTS | INSTALLATEURS | PUISSANCES | PRODUITS | B2C et flottes | B2B | ZE Ready 1.2 (seulement pour maintenance des installations existantes) | ZE Ready 1.4 (obligatoire pour toute nouvelle installation)
Ingeteam | Ingeteam | SI Clean | 3/ 11 kW | Ingeteam | X | X | yes | no
JetCharge | Podpoint | JetCharge | 3 kW | Podpoint | X | X | yes | no
Schneider Electric | Schneider Electric | Réseau d'installateurs Schneider Electric | 3 / 7 / 11 kW | SE AUST | X | X | yes | yes

## Ingeteam
Ingeteam Australie
Device | Reference | B2C and fleets | B2B | Comments
Charging station City T2 3kW | G1116 | ■ | ■
Charging station City T2 11 kW (7/22 kW not allowed) | G1332 | ■ | ■
Charging station City T2 3kW | G1116-IT | ■ | ■
Charging station City T2 11 kW (7/22 kW not allowed) | G1332-IT | ■ | ■
Charging station City T2 3kW | W1116 | ■ | ■
Wallbox Garage T2 3 kW | W1116 | ■ | ■
Wallbox Garage T2 11 kW (7/22 kW not allowed) | W1332 | ■ | ■
Wallbox Garage T2 3 kW | W1116-IT | ■ | ■
Wallbox Garage T2 11 kW (7/22 kW not allowed) | W1332-IT | ■ | ■
Charging station City 11kW | G1316 | ■ | ■
Charging station City 11kW | W1316 | ■ | ■

## Podpoint
Podpoint Australie
Device | Reference | B2C and fleets | B2B | Comments
PodPoint solo 2 3 kW T2 (7 kW not allowed) | SL-3261-1-xx | ■ | ■
PodPoint solo GSM 3kW AT1 | SL-3201-1-xx | ■ | ■ | Only Fluence and Kangoo
PodPoint solo GSM 3kW AT1 | SL-1601-1-xx | ■ | ■ | Only Fluence and Kangoo

## Schneider Electric AUST
Schneider Electric Australie
Désignation | Référence | B2C et flottes | B2B | Commentaires
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■