## DANEMARK
Statut ZE Ready 1.2 - ZE Ready 1.4
LICENCIE | FOURNISSEUR D'EQUIPEMENTS | INSTALLATEURS | PUISSANCES | PRODUITS | B2C et flottes | B2B | ZE Ready 1.2 (seulement pour maintenance des installations existantes) | ZE Ready 1.4 (obligatoire pour toute nouvelle installation)
The Mobility House | KEBA | The Mobility House | 3/7/11/22 kW | Keba | X |  | yes | yes
Schneider Electric | Schneider Electric | Réseau d'installateurs Schneider Electric | 3 / 7 / 11 kW | SE | X | X | yes | yes
Clever | KEBA | Clever | 3/7/11/22 kW | Keba | X |  | yes | no
PROTOSCAR | PROTOSCAR | ALPIQ | 3 / 11 kW | PROTO | X | X | yes | no
PODPOINT | PODPOINT | SEA Electronics | 3 kW | PODPOINT | X | X | yes | no

## Keba
Keba
Désignation | Référence | B2C et flottes | B2B | Commentaires
KeContact P20 Type 2 Socket 22kW | Part Numb: KC-P20-ES2xx | ■
KeContact P20 Type 2 Cable 22kW | Part Numb: KC-P20-EC2xx | ■
KeContact P20 Type 1 7,4 kW | Part Numb: KC-P20-EC1xx | ■ |  | for EV equipped with vehicle inlet type 1 only
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## Schneider Electric
Schneider Electric
Désignation | Référence | B2C et flottes | B2B | Commentaires
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■

## PROTO
Protoscar
Désignation | Référence | B2C | B2B | Commentaires
Home Charge Device AT1 3 kW | 1P-HCD-FR01-Mode3 | ■ |  | Only fluence and Kangoo
Home Charge Device AT1 3 kW | 1P-RFID-HCD-FR01-Mode3 | ■ | ■ | Only fluence and Kangoo
Home Charge Device AT2 11 kW | 3P-HCD-FR01-Mode3 | ■ | ■
Home Charge Device AT2 11 kW | 3P-RFID-HCD-FR01-Mode3 | ■
Home Charge Device AT2 3 kW | 1P-HCD-FR01-Mode3 | ■
Home Charge Device AT2 22 kW | 3P-HCD-FR01-Mode3 | ■ |  | limited at 20Amps
Home Charge Device AT2 22 kW | 3P-RFID-HCD-FR01-Mode3 | ■ | ■ | limited at 20Amps
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## PODPOINT
PODPOINT
Désignation | Référence | B2C et flottes | B2B | Commentaires
PodPoint solo 2 3 kW T2 (7 kW not allowed) | SL-3261-1-xx | ■ | ■
PodPoint solo GSM 3kW AT1 | SL-3201-1-xx | ■ | ■ | Only Fluence and Kangoo
PodPoint solo GSM 3kW AT1 | SL-1601-1-xx | ■ | ■ | Only Fluence and Kangoo