## PORTUGAL
Statut ZE Ready 1.2 - ZE Ready 1.4
LICENCIE | FOURNISSEUR D'EQUIPEMENTS | INSTALLATEURS | PUISSANCES | PRODUITS | B2C et flottes | B2B | ZE Ready 1.2 (Valable seulement pour la maintenance des installations existantes*) | ZE Ready 1.4 (Obligatoire pour toute nouvelle installation**)
Efacec | Efacec | Réseau d'installateurs Efacec | 3/11/43 kW | EF POR | X | X | yes | no
Schneider Electric | Schneider Electric | Réseau d'installateurs Schneider Electric | 3 / 7 / 11 kW | SE POR | X | X | yes | yes
ENEL | ENEL | Réseau d'installateur agréé ENEL | 3 kW | Enel | X |  | yes | no
Magnum Cap | Magnum Cap | Réseau d'installateurs Magnum Cap | 3 / 7 / 11 / 22 kW | Mag | X |  | yes | no
*Installation existante : Concerne les bornes dont la 1ère installation est antérieure au 01/01/2017.
**Nouvelle installation : Concerne les bornes dont la 1ère installation est postérieure au 01/01/2017.

## EFACEC Port
EFACEC Portugal
Désignation | Référence | B2C et flottes | B2B | Commentaires
3.7kW, Plug, Type 1 | EV-HC3 CE 1F-16-P-T1 | ■ | ■ | for EV equipped with vehicle inlet type 1 only
3.7kW, Plug, Type 2 | EV-HC3 CE 1F-16-P-T2 | ■ | ■
3.7kW, socket, Type 2 | EV-HC3 CE 1F-16-S-T2 | ■ | ■
11kW, 3 phase, Plug, Type 2 | EV-HC11 CE 3F-16-P-T2 | ■ | ■
11kW, 3 phase, socket, Type 2 | EV-HC11 CE 3F-16-S-T2 | ■ | ■
11kW, 3 phase, Plug, Type 2 | EV-HC22 CE 3F-32-P-T2 | ■ | ■
11kW, 3 phase, socket, Type 2 | EV-HC22 CE 3F-32-S-T2 | ■ | ■
3.7kW, Plug, Type 1, release 2 | EV-HC3 R2 CE 1F-16-P-T1 | ■ | ■ | for EV equipped with vehicle inlet type 1 only
3.7kW, Plug, Type 2, release 2 | EV-HC3 R2 CE 1F-16-P-T2 | ■ | ■
3.7kW, socket, Type 2, release 2 | EV-HC3 R2 CE 1F-16-S-T2 | ■ | ■
11kW, 3 phase, Plug, Type 2, release 2 | EV-HC11 R2 CE 3F-16-P-T2 | ■ | ■
11kW, 3 phase, socket, Type 2, release 2 | EV-HC11 R2 CE 3F-16-S-T2 | ■ | ■
22kW, 3 phase, Plug, Type 2, release 2 | EV-HC22 R2 CE 3F-32-P-T2 | ■ | ■
22kW, 3 phase, socket, Type 2, release 2 | EV-HC22 R2 CE 3F-32-S-T2 | ■ | ■
3.7kW, socket, Type 2, 1 phase | EV-CK CE GCBK 1F 16 S T2 (replaces former S1F-16-S-T2-3) |  | ■
11kW, socket, Type 2, 3 phase | EV-CK CE GCBK 3F 16 S T2 (replaces former S3F-16-S-T2-3) |  | ■
11kW, socket, Type 2, 3 phase | EV-CK CE GCBK 3F 32 S T2 (replaces former S3F-32-S-T2-3) |  | ■
CHAdeMO Quick Charger 50kW with plug AC43kW | EV-QC50 CE GCCB DCA AC43 |  | ■
CHAdeMO Quick Charger 50kW with socket AC22kW | EV-QC50 CE GCCB DCA AC22 |  | ■
CCS Quick Charger 50kW with plug AC43kW | EV-QC50 CE GCCB DCC AC43 |  | ■
CCS Quick Charger 50kW with socket AC22kW | EV-QC50 CE GCCB DCC AC22 |  | ■
CHAdeMO+CCS Quick Charger 50kW with plug AC43kW | EV-QC50 CE GCCB DCA DCC AC43 |  | ■
CHAdeMO+CCS Quick Charger 50kW with plug AC22kW | EV-QC50 CE GCCB DCA DCC AC22 |  | ■
CHAdeMO Quick Charger 45kW with plug AC43kW | EV-QC45 CE GCCB DCA AC43 |  | ■
CHAdeMO Quick Charger 45kW with socket AC22kW | EV-QC45 CE GCCB DCA AC22 |  | ■
CCS Quick Charger 45kW with plug AC43kW | EV-QC45 CE GCCB DCC AC43 |  | ■
CCS Quick Charger 45kW with socket AC22kW | EV-QC45 CE GCCB DCC AC22 |  | ■
CHAdeMO+CCS Quick Charger 45kW with plug AC43kW | EV-QC45 CE GCCB DCA DCC AC43 |  | ■
CHAdeMO+CCS Quick Charger 45kW with plug AC22kW | EV-QC45 CE GCCB DCA DCC AC22 |  | ■
CHAdeMO Quick Charger 20kW with socket AC22kW | EV-QC20 CE GCCB DCA AC22 |  | ■
CCS Quick Charger 20kW with socket AC22kW | EV-QC20 CE GCCB DCC AC22 |  | ■
CHAdeMO+CCS Quick Charger 20kW with socket AC22kW | EV-QC20 CE GCCB DCA DCC AC22 |  | ■
KIOSK AC43 kW fast charger, plug | EV-KSK CE GCCB AC43 |  | ■
KIOSK with 2 x AC43 kW fast charger, plug | EV-KSK CE GCCB AC43 AC43 |  | ■

## Schneider Electric Port
Schneider Electric Portugal
Désignation | Référence | B2C et flottes | B2B | Commentaires
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■

## ENEL
ENEL Portugal
Device | Reference | B2C | B2B | Comments
Box Station 3G T2/T3 | EN-13RT0002-0 | ■

## Magnum Cap
Magnum Cap Portugal
Device | Reference | B2C | B2B | Comments
Wallbox 3,6 kW T2 | MCCWB-MS16 | ■
Wallbox 7,2 kW T2 | MCCWB-MS32 | ■
Wallbox 11 kW T2 | MCCWB-MS16-3P | ■
Wallbox 22 kW T2 | MCCWB-MS32-3P | ■