## Netherlands
Status ZE Ready 1.2 - ZE Ready 1.4
LICENSED | EQUIPMENT SUPPLIER | INSTALLERS | POWER | PRODUCTS | B2C and fleets | B2B | ZE Ready 1.2 (maintenance only for existing installations) | ZE Ready 1.4 (mandatory for all new installations)
RWE | RWE | RWE | 3/11 kW | RWE NL | X | X | yes | no
DBT | DBT | DBT network of installers | 3/7/11/22/43 kW | DBT | X | X | yes | no
HAGER | HAGER | Hager network of installers | 3/11 kW | HAGER NL | X | X | yes | no
Schneider Electric | Schneider Electric | Schneider Electric network of installers | 3 / 7 / 11 kW | SE NL | X | X | yes | yes
PROTOSCAR | PROTOSCAR | ALPIQ | 3 / 11 kW | PROTO | X | X | yes | no
PODPOINT | PODPOINT | SEA Electronics | 3 kW | PODPOINT | X | X | yes | no
CIRCONTROL | Circontrol | GREENFLUX ASSETS BV | 3 / 11 / 43 kW | CIRCONTROL | X | X | yes | no
ALFEN ICU | ALFEN ICU | Breedveld&Schröder | 3/22 kW | Alfen | X | X | yes | no
EV Box B.V. | EV Box B.V. | Cofely Energy and Infra B.V. | 3/7/11/22/43 kW | EV Box | X | X | yes | no

## Hager NDL
HAGER Netherlands
Device | Reference | B2C | B2B | Comments
HomeBox Outdoor 22kVA M3T2 or 3kVA M2TF | XEV 123ZE | ■
HomeBox Outdoor 7kVA M3T2 or 3kVA M2TF + Ph/N RCBO | XEV 122ZE | ■
HomeBox Outdoor 22kVA M3T2 | XEV 120ZE | ■
HomeBox Outdoor 7kVA M3T2 + Ph/N RCBO | XEV 121ZE | ■
HomeBox Outdoor 22kVA M3T2 or 3kVA M2TF +Com | XEV 123ZEC | ■
HomeBox Outdoor 7kVA M3T2 or 3kVA M2TF + Ph/N RCBO +Com | XEV 122ZEC | ■
HomeBox Outdoor 22kVA M3T2 +Com | XEV 120ZEC | ■
HomeBox Outdoor 7kVA M3T2 + Ph/N RCBO +Com | XEV 121ZEC | ■
ParkBox Outdoor 22kVA M3T2 | XEV 220ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2 + Ph/N RCBO | XEV 221ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2 or 3kVA M2TF + Ph/N RCBO | XEV 222ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2 or 3kVA M2TF | XEV 223ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2 +Com | XEV 220ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2 + Ph/N RCBO +Com | XEV 221ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2 or 3kVA M2TF +Com | XEV 222ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2 or 3kVA M2TF + Ph/N RCBO +Com | XEV 223ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 3kVA M2TF | XEV52ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 22kVA M3T2 | XEV521ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 3kVA M2TF +Com | XEV520ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 22kVA M3T2 +Com | XEV521ZEC | ■ | ■
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## RWE Pays Bas
RWE Netherlands
Device | Reference | B2C and fleets | B2B | Comments
RWE eStation smart: (Plug and Charge) 1 phase: 2 x 3,7 kW (16A) / 2 x 7,4 kW (32A) 3 phase: 2 x 11 kW (16A) / 2 x 22 kW (32A) | IEIA-180 | ■ | ■
RWE eStation smart: (Plug and Charge + RFID) 1 phase: 2 x 3,7 kW (16A) / 2 x 7,4 kW (32A) 3 phase: 2 x 11 kW (16A) / 2 x 22 kW (32A) | IEIA-182 | ■ | ■
RWE eBox smart: (Plug and Charge) 1 phase: 3,7 kW (16A) / 7,4 kW (32A) 3 phase: 11 kW (16A) / 22 kW (32A) | IEIA-291 | ■ | ■
RWE eBox smart: (Plug and Charge + RFID) 1 phase: 3,7 kW (16A) / 7,4 kW (32A) 3 phase: 11 kW (16A) / 22 kW (32A) | IEIA-292 | ■ | ■
RWE eBox ZE ready 1.2: 1 phase: 3,7 kW (16A) 3 phase: 11 kW (16A) | IEIA-281 | ■
RWE eStation ZE ready 1.2: 3 phase: 11 kW (16A) | IEIA-152 | ■

## Schneider Electric
Schneider Electric Netherlands
Device | Reference | B2C and fleets | B2B | Comments
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■

## Protoscar
Protoscar Netherlands
Device | Reference | B2C | B2B | Comments
Home Charge Device AT1 3 kW | 1P-HCD-FR01-Mode3 | ■ |  | Only fluence and Kangoo
Home Charge Device AT1 3 kW | 1P-RFID-HCD-FR01-Mode3 | ■ | ■ | Only fluence and Kangoo
Home Charge Device AT2 11 kW | 3P-HCD-FR01-Mode3 | ■ | ■
Home Charge Device AT2 11 kW | 3P-RFID-HCD-FR01-Mode3 | ■
Home Charge Device AT2 3 kW | 1P-HCD-FR01-Mode3 | ■
Home Charge Device AT2 22 kW | 3P-HCD-FR01-Mode3 | ■ |  | limited at 20Amps
Home Charge Device AT2 22 kW | 3P-RFID-HCD-FR01-Mode3 | ■ | ■ | limited at 20Amps
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## PODPOINT
PODPOINT Netherlands
Désignation | Référence | B2C et flottes | B2B | Commentaires
PodPoint solo 2 3 kW T2 (7 kW not allowed) | SL-3261-1-xx | ■ | ■
PodPoint solo GSM 3kW AT1 | SL-3201-1-xx | ■ | ■ | Only Fluence and Kangoo
PodPoint solo GSM 3kW AT1 | SL-1601-1-xx | ■ | ■ | Only Fluence and Kangoo

## CIRCONTROL
CIRCONTROL Netherlands
Device | Reference | B2C | B2B | Comments
CCL-PT3 ZE READY 1xT2 43kW Floor mounted | 490122 | ■ | ■
CCL-PM3 ZER 2xT2 3 kW Floor mounted (7/22kW not allowed) | 490081ZER | ■ | ■
CCL-PT3 ZER 2xT2 11 kW Floor mounted (7/22kW not allowed) | 490083ZER | ■ | ■
CCL-PT63 ZER 1xT2 43 kW Floor mounted | 490122ZER | ■ | ■
CCL-PM3 URBAN ZER 2xT2 3 kW Floor mounted (7/22kW not allowed) | 490081ZER | ■ | ■
CCL-PT3 URBAN ZER 2xT2 11 kW Floor mounted (7/22kW not allowed) | 490083ZER | ■ | ■
CCL-QPMIX 32ZER AC 11 kW Quick Charger DC+AC (7/22kW not allowed) | 490063ZER | ■ | ■
CCL-QPMIX 63ZER AC43 kW Quick Charger DC+AC | 490120ZER | ■ | ■
CCL-QPC MIX 32ZER AC11 kW Quick Charger DC+AC (7/22kW not allowed) | 490099ZER | ■ | ■
CCL-QPC MIX 63 ZER AC43 kW Quick Charger DC+AC | 490128ZER | ■ | ■
CCL- PT32 ZER 1xT2 11kW Floor mounted (7/22kW not allowed) | 490132 | ■ | ■
CCL-WBCSMART ZER 1xT2 3,6kW wall box | 490075ZER | ■ | ■
CCL-WBC 32 SMART ZER 1xT2 3 kW wall box (7/22kW not allowed) | 490124ZER | ■ | ■
CCL-WBM SMART ZER 1xT2 3 kW wall box (7/22kW not allowed) | 490073ZER | ■ | ■
CCL-WBM SMART TRI ZER 1xT2 11kW wall box (7/22kW not allowed) | 490089ZER | ■ | ■
CCL-WB2M ZER 2xT2 3 kW wall box (7/22kW not allowed) | 490106ZER | ■ | ■
CCL-WB2M TRI ZER 2xT2 11 kW wall box (7/22kW not allowed) | 490107ZER | ■ | ■

## Alfen
ALFEN ICU Netherlands
Désignation | Référence | B2C et flottes | B2B | Commentaires
wallbox ICUcompact-mini 3.6kW AT1 | IB 275 | ■ | ■
wallbox ICUcompact-mini 3.6kW AT2 | IB 275 | ■ | ■
wallbox ICU-EVe 2x22kW socket T2 | IB 503 | ■ | ■
wallbox ICU-Compact 22kW T2 | IB 503 | ■ | ■

## DBT
DBT Netherlands
Device | Reference | B2C and fleets | B2B | Comments
GNS Charging station 22kW 3ph 1xT3 & 1xT2 | GNS241-X-XX-X-X | ■ | ■
GNS Charging station 3kW 1ph 2xT2 3kW & 2xSchuko | GNS405-X-25-R-X | ■ | ■
GNS Charging station 7kW 1ph 2xT2 7kW & 2xSchuko | GNS406-X-25-R-X | ■ | ■
GNS Charging station 11kW 3ph 2xT2 11kW & 2xSchuko | GNS407-X-25-R-X | ■ | ■
GNS Charging station 22kW 3ph 2xT2 22kW & 2xSchuko | GNS409-X-25-R-X | ■ | ■
GNS Charging station 3kW 1ph 1xT3 3kW & 1xT2 3kW & 2xDom | GNS414-X-25-R-X | ■ | ■
GNS Charging station 22kW 3ph 1xT3 22kW & 1xT2 22kW & 2xDom | GNS420-X-25-R-X | ■ | ■
GNS Charging station 3kW 1ph 1xT2 3kW & 1xDom | GNS207-X-25-R-X | ■ | ■
GNS Charging station 7kW 1ph 1xT2 7kW & 1xDom | GNS208-X-25-R-X | ■ | ■
GNS Charging station 11kW 3ph 1xT2 11kW & 1xDom | GNS209-X-25-R-X | ■ | ■
GNS Charging station 22kW 3ph 1xT2 22kW & 1xDom | GNS210-X-25-R-X | ■ | ■
GNS Charging station 3kW 1ph 1xT2 3kW | GNS242-X-25-R-X | ■ | ■
GNS Charging station 7kW 1ph 2xT2 7kW | GNS246-X-25-R-X | ■ | ■
GNS Charging station 11kW 3ph 2xT2 11kW | GNS249-X-25-R-X | ■ | ■
GNS Charging station 3kW 1ph 2xT2 3kW & 2xSchuko | GNS405-X-25-R-W | ■ | ■
GNS Charging station 22kW 3ph 2xT2 22kW & 2xSchuko | GNS409-X-25-R-W | ■ | ■
Quick Charger Type 2 43kW | NQC267-X-25-R-P-X |  | ■
Quick Charger Type 2 43kW | NQC315-X-25-R-P-X |  | ■

## EV Box
EV Box Netherlands
Désignation | Référence | B2C et flottes | B2B | Commentaires
Wallbox 1xT2 | B3321-2201-ZE | ■ | ■
Wallbox 1xT2 | H3321-2201-ZE | ■ | ■
Pole mounted Wallbox 2xT2 | B3322-2201-ZE | ■ | ■
Spotbox 2xT2 | ML-3322-2201-ZE | ■ | ■
Wallbox 1xAT2 | H3320-22062-ZE | ■ | ■
Wallbox 1xAT2 | H3320-22082-ZE | ■ | ■
Wallbox 1xAT2 | B3320-22092-ZE | ■ | ■
Wallbox 1xAT2 | B3161-2201-ZE | ■ | ■
Wallbox 1xAT2 | H3161-2201-ZE | ■ | ■
Pole mounted Wallbox 2xT2 | B3162-2201-ZE | ■ | ■
Spotbox 2xT2 | ML-3162-2201-ZE | ■ | ■
Wallbox 1xAT2 | H3160-22062-ZE | ■ | ■
Wallbox 1xAT2 | H3160-22082-ZE | ■ | ■
Wallbox 1xAT2 | B3160-22092-ZE | ■ | ■
Wallbox 1xT2 | B1321-2201-ZE | ■ | ■
Wallbox 1xT2 | H1321-2201-ZE | ■ | ■
Pole mounted Wallbox 2xT2 | B1322-2201-ZE | ■ | ■
Wallbox 1xAT2 | H1320-22062-ZE | ■ | ■
Wallbox 1xAT2 | H1320-22082-ZE | ■ | ■
Wallbox 1xAT2 | B1320-22092-ZE | ■ | ■
Wallbox 1xT2 | B1161-2201-ZE | ■ | ■
Wallbox 1xT2 | H1161-2201-ZE | ■ | ■
Pole mounted Wallbox 2xT2 | B1162-2201-ZE | ■ | ■
Wallbox 1xAT1 | H1160-22061-ZE | ■ | ■
Wallbox 1xAT2 | H1160-22062-ZE | ■ | ■
Wallbox 1xAT1 | H1160-22081-ZE | ■ | ■
Wallbox 1xAT2 | H1160-22082-ZE | ■ | ■
Wallbox 1xAT1 | B1160-22091-ZE | ■ | ■
Wallbox 1xAT2 | B1160-22092-ZE | ■ | ■