## ALLEMAGNE
Statut ZE Ready 1.2 - ZE Ready 1.4
LICENCIE | FOURNISSEUR D'EQUIPEMENTS | INSTALLATEURS | PUISSANCES | PRODUITS | B2C et flottes | B2B | ZE Ready 1.2 (Valable seulement pour la maintenance des installations existantes*) | ZE Ready 1.4 (Obligatoire pour toute nouvelle installation**)
RWE | RWE | RWE | 3 / 11 kW | RWE ALL | X | X | yes | no
MENNEKES | MENNEKES | MENNEKES | 3 / 11 / 22 kW | MENNEKES ALL | X | X | yes | no
The Mobility House | KEBA | The Mobility House | 3 / 7 / 11 / 22 kW | Keba | X | X | yes | yes
HAGER | Hager | Réseau d'installateurs Hager | 3/11 kW | Hager ALL | X | X | yes | no
Schneider Electric | Schneider Electric | Réseau d'installateurs Schneider Electric | 3 / 7 / 11 kW | SE ALL | X | X | yes | yes
PROTOSCAR | PROTOSCAR | ALPIQ | 3 / 11 kW | PROTO | X | X | yes | no
PODPOINT | PODPOINT | SEA Electronics | 3 kW | PODPOINT | X | X | yes | no
*Installation existante : Concerne les bornes dont la 1ère installation est antérieure au 01/01/2017.
**Nouvelle installation : Concerne les bornes dont la 1ère installation est postérieure au 01/01/2017.

## RWE
RWE Allemagne
Désignation | Référence | B2C et flottes | B2B | Commentaires
RWE eStation smart Plug and Charge 3 kW/11KW | IEIA-180 | ■ | ■
RWE eStation smart Plug and Charge + RFID 3kW/11kW | IEIA-182 | ■ | ■
RWE eBox smart Plug and Charge 3kW/11kW | IEIA-291 | ■ | ■
RWE eBox smart Plug and Charge + RFID 3kW/11kW | IEIA-292 | ■ | ■
RWE eBox ZE ready 1.2 3kW/11kW | IEIA-281 | ■
RWE eStation ZE ready 1.2 11kW | IEIA-152 | ■

## Keba
Keba Allemagne
Ddésignation | Référence | B2C et flottes | B2B | Commentaires
KeContact P20 Type 2 Socket 22kW | Part Numb: KC-P20-ES2xx | ■
KeContact P20 Type 2 Cable 22kW | Part Numb: KC-P20-EC2xx | ■
KeContact P20 Type 1 7,4 kW | Part Numb: KC-P20-EC1xx | ■ |  | Only fluence and Kangoo

## Hager GER
HAGER Allemagne
Désignation | Référence | B2C | B2B | Commentaires
HomeBox Outdoor 22kVAM3Cable or 3kVAM2TF | XEV151S7035ZE | ■
HomeBox Outdoor 22kVA M3T2Cable | XEV150S7035ZE | ■
HomeBox Outdoor 22kVA M3T2 | XEV 152S7035ZE | ■
HomeBox Outdoor 22kVA M3T2 or 3kVAM2TF | XEV 153S7035ZE | ■
HomeBox Outdoor 7kVA M3T2 (1P 20A) | XEV 154S7035ZE | ■
HomeBox Outdoor 7kVA M3T2 or 3kVAM2TF (1P 20A) | XEV 156S7035ZE | ■
HomeBox Outdoor 22kVAM3Cable or 3kVAM2TF +Com | XEV151S7035ZEC | ■
HomeBox Outdoor 22kVA M3Cable +Com | XEV 150S7035ZEC | ■
HomeBox Outdoor 22kVA M3T2 +Com | XEV 152S7035ZEC | ■
HomeBox Outdoor 22kVA M3T2 or 3kVAM2TF +Com | XEV 153S7035ZEC | ■
HomeBox Outdoor 7kVA M3T2 (1P 20A) +Com | XEV 154S7035ZEC | ■
HomeBox Outdoor 7kVA M3T2 or 3kVAM2TF (1P 20A)+Com | XEV 156S7035ZEC | ■
ParkBox Outdoor 22kVAM3Cable or 3kVAM2TF | XEV250S7035ZE | ■ | ■
ParkBox Outdoor 22kVAM3T2 or 3kVAM2TF | XEV251S7035ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2 | XEV 252S7035ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2 or 3kVAM2TF | XEV 253S7035ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2 (1P 20A) | XEV 254S7035ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2 or 3kVAM2TF (1P 20A) | XEV 257S7035ZE | ■ | ■
ParkBox Outdoor 22kVAM3Cable or 3kVAM2TF +Com | XEV251S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3Cable +Com | XEV 250S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2 +Com | XEV 252S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2 or 3kVAM2TF +Com | XEV 253S7035ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2 (1P 20A) +Com | XEV 254S7035ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2 or 3kVAM2TF (1P 20A)+Com | XEV 257S7035ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 3kVA M2TF | XEV550HBR001ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 22kVA M3T2 | XEV551HBR001ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 3kVA M2TF +Com | XEV550HBR001ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2 and 22kVA M3T2 +Com | XEV551HBR001ZEC | ■ | ■
HomeBox Outdoor 22kVAM3Cable or 3kVAM2TF | XEV151S7035ZE | ■ | ■
HomeBox Outdoor 22kVA M3Cable | XEV150S7035ZE | ■ | ■
HomeBox Outdoor 22kVA M3T2S | XEV 152S7035ZE | ■ | ■
HomeBox Outdoor 22kVA M3T2S or 3kVAM2TF | XEV 153S7035ZE | ■ | ■
HomeBox Outdoor 7kVA M3T2S (1P 20A) | XEV 154S7035ZE | ■ | ■
HomeBox Outdoor 7kVA M3T2S or 3kVAM2TF (1P 20A) | XEV 156S7035ZE | ■ | ■
HomeBox Outdoor 22kVA M3T2S or 3kVA M2TF | XEV 123ZE | ■ | ■
HomeBox Outdoor 7kVA M3T2S or 3kVA M2TF + Ph/N RCBO | XEV 122ZE | ■ | ■
HomeBox Outdoor 22kVA M3T2S | XEV 120ZE | ■ | ■
HomeBox Outdoor 7kVA M3T2S + Ph/N RCBO | XEV 121ZE | ■ | ■
ParkBox Outdoor 22kVAM3Cable or 3kVAM2TF | XEV250S7035ZE | ■ | ■
ParkBox Outdoor 22kVAM3T2S or 3kVAM2TF | XEV251S7035ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2S | XEV 252S7035ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2S or 3kVAM2TF | XEV 253S7035ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2S (1P 20A) | XEV 254S7035ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2S or 3kVAM2TF (1P 20A) | XEV 257S7035ZE | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S) | XEV 652 | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S or 3kVA M2TF) | XEV 653 | ■ | ■
ParkBox Outdoor 22kVAM3Cable or 3kVAM2TF +Com | XEV251S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3Cable +Com | XEV 250S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2S +Com | XEV 252S7035ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2S or 3kVAM2TF +Com | XEV 253S7035ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2S (1P 20A) +Com | XEV 254S7035ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2S or 3kVAM2TF (1P 20A)+Com | XEV 257S7035ZEC | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S) + com | XEV 652C | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S or 3kVA M2TF) + com | XEV 653C | ■ | ■
ParkBox Outdoor 22kVA M3T2S | XEV 220ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2S + Ph/N RCBO | XEV 221ZE | ■ | ■
ParkBox Outdoor 7kVA M3T2S or 3kVA M2TF + Ph/N RCBO | XEV 222ZE | ■ | ■
ParkBox Outdoor 22kVA M3T2S or 3kVA M2TF | XEV 223ZE | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S) | XEV 620 | ■ | ■
ParkBox Outdoor METAL 2x (7kVA M3T2S) | XEV 621 | ■ | ■
ParkBox Outdoor 22kVA M3T2S +Com | XEV 220ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2S + Ph/N RCBO +Com | XEV 221ZEC | ■ | ■
ParkBox Outdoor 7kVA M3T2S or 3kVA M2TF +Com | XEV 222ZEC | ■ | ■
ParkBox Outdoor 22kVA M3T2S or 3kVA M2TF + Ph/N RCBO +Com | XEV 223ZEC | ■ | ■
ParkBox Outdoor METAL 2x (22kVA M3T2S) + com | XEV 620C | ■ | ■
ParkBox Outdoor METAL 2x (7kVA M3T2S) + com | XEV 621C | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 3kVA M2TF | XEV550HBR001ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 22kVA M3T2S | XEV551HBR001ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 3kVA M2TF +Com | XEV550HBR001ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 22kVA M3T2S +Com | XEV551HBR001ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 3kVA M2TF | XEV52ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 22kVA M3T2S | XEV521ZE | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 3kVA M2TF +Com | XEV520ZEC | ■ | ■
Bamboo Charging Station Outdoor 22kVA M3T2S and 22kVA M3T2S +Com | XEV521ZEC | ■ | ■
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Nissan Estimated date for Quick charge Leaf tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
QC
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## Schneider Electric
Schneider Electric Allemagne
Désignation | Référence | B2C et flottes | B2B | Commentaires
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■
EVlink Parking Wallbox 1x22kW T2+TF | EVF2S22P2F | ■ | ■
EVlink Parking Wallbox 1x22kW T2+TF | EVF2S22P2FR | ■ | ■
EVlink Parking Wallbox 1x7kW T2+TF | EVF2S7P2F | ■ | ■
EVlink Parking Wallbox 1x7kW T2+TF | EVF2S7P2FR | ■ | ■

## Protoscar
Protoscar Allemagne
Désignation | Référence | B2C | B2B | Commentaires
Home Charge Device AT1 3 kW | 1P-HCD-FR01-Mode3 | ■ |  | Only fluence and Kangoo
Home Charge Device AT1 3 kW | 1P-RFID-HCD-FR01-Mode3 | ■ | ■ | Only fluence and Kangoo
Home Charge Device AT2 11 kW | 3P-HCD-FR01-Mode3 | ■ | ■
Home Charge Device AT2 11 kW | 3P-RFID-HCD-FR01-Mode3 | ■
Home Charge Device AT2 3 kW | 1P-HCD-FR01-Mode3 | ■
Home Charge Device AT2 22 kW | 3P-HCD-FR01-Mode3 | ■ |  | limited at 20Amps
Home Charge Device AT2 22 kW | 3P-RFID-HCD-FR01-Mode3 | ■ | ■ | limited at 20Amps
To fil further by Renault/Nissan Estimated date for cars integrations tests
To fil further by Renault/Nissan Estimated date for cars integrations tests

## Mennekes
Mennekes Allemagne
Désignation | Référence | B2C | B2B | Commentaires
Home Charger 11 kW | 317410 | ■
Wall Satellite 11 kW | 314000 |  | ■
Wallbox plus 3,7ZE | 318500ZE | ■
Wallbox plus 11ZE | 318501ZE | ■
Wallbox plus 22ZE | 318499ZE | ■

## PODPOINT
PODPOINT Allemagne
Désignation | Référence | B2C et flottes | B2B | Commentaires
PodPoint solo 2 3 kW T2 (7 kW not allowed) | SL-3261-1-xx | ■ | ■
PodPoint solo GSM 3kW AT1 | SL-3201-1-xx | ■ | ■ | Only Fluence and Kangoo
PodPoint solo GSM 3kW AT1 | SL-1601-1-xx | ■ | ■ | Only Fluence and Kangoo