## Slovenie
Statut ZE Ready 1.2 - ZE Ready 1.4
LICENCIE | FOURNISSEUR D'EQUIPEMENTS | INSTALLATEURS | PUISSANCES | PRODUITS | B2C et flottes | B2B | ZE Ready 1.2 (Valable seulement pour la maintenance des installations existantes*) | ZE Ready 1.4 (Obligatoire pour toute nouvelle installation**)
ETREL | Etrel | Réseau d'installateurs Etrel | 3 kW | ETREL SL |  | X | yes | no
Schneider Electric | Schneider Electric | Réseau d'installateurs Schneider Electric | 3 / 7 / 11 kW | SE SL | X | X | yes | yes
*Installation existante : Concerne les bornes dont la 1ère installation est antérieure au 01/01/2017.
**Nouvelle installation : Concerne les bornes dont la 1ère installation est postérieure au 01/01/2017.

## ETREL Slovenie
ETREL Slovenie
Device | Reference | B2C and fleets | B2B | Comments
4,6 kW, T2 | SSH-1-20 E5C4L8D2S13A120K1G1P1 |  | ■ | Usage restriction only for Fluence and Kangoo

## SE Slovenie
SE Slovenie
Device | Reference | B2C and fleets | B2B | Comments
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wallbox att-Cable T2 7kW INT Electric Vehicle Charging Station | NCA19210 | ■
Wallbox att-Cable T2 11kW INT Electric Vehicle Charging Station | NCA19310 | ■
Wallbox att-Cable T2 3kW INT Electric Vehicle Charging Station | NCA19110 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■